## Sheet1
Ch. Devi Lal State Institute of Enginnering & Technology, Panniwala Mota (Sirsa)
Detail of Movable assests of Electrical Engineering Department (As per Stock Register records) Annexure-I
Upto 28.02.2022
Sr. No. | Name of Item | Quantity | Date of Purchase | Name of Firm (M/s.) | Purchase value | Issued to whom | Status
[7 empty] | In working / Not Working condition | If Not Working , repairable or Not (Yes/No)
1 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 0.5/1A | 3 | 31.03.2005 | Satguru Enterprises, Hisar | 3885/- | Issued to EE department | In working condition
2 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 1/2A | 3 | 31.03.2005 | Satguru Enterprises, Hisar | 3885/- | Issued to EE department | In working condition
3 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 2.5/5A | 4 | 31.03.2005 | Satguru Enterprises, Hisar | 5180/- | Issued to EE department | In working condition
4 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 5/10A | 4 | 31.03.2005 | Satguru Enterprises, Hisar | 5180/- | Issued to EE department | In working condition
5 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 15/30A | 2 | 31.03.2005 | Satguru Enterprises, Hisar | 2590/- | Issued to EE department | In working condition
6 | AC Ammeter Portable Moving Iron AC, dual scale accuracy class 1.0, 1/3/10A | 4 | 31.03.2005 | Satguru Enterprises, Hisar | 5180/- | Issued to EE department | In working condition
7 | Energy Meter 1-phase Induction type, 250V, Industrial grade, 50Hz, 5-10A | 2 | 11.02.2004 | Satguru Enterprises, Hisar | 990/- | Issued to EE department | In working condition
8 | Energy Meter, 3-phase, Induction type, 4-wire, 50Hz, 10A, 440V, | 2 | 28.02.2004 | Mannu Enterprises, Delhi | 2960/- | Issued to EE department | Not in Wokring condition | Yes, repariable
9 | Rheostats 1089 ohms, 0.6A | 3 | 02.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 1770/- | Issued to EE department | In working condition
10 | Rheostats 150 ohms,2A | 3 | 02.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 1020/- | Issued to EE department | In working condition
11 | Rheostats 0-350 ohms, 1.5A | 3 | 02.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 1020/- | Issued to EE department | In working condition
12 | Wattmeter Portable, 150mm | 2 | 12.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 2400/- | Issued to EE department | In working condition
13 | Wattmeter Portable, 0/5/10A, 0/250/500V or 0/125/250V | 2 | 12.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 2400/- | Issued to EE department | In working condition
14 | Wattmeter Portable, 1-phase, 1/2A, 75/150/300V | 4 | 06.05.2005 | Mannu Enterprises, New Delhi | 14600/- | Issued to EE department | In working condition
15 | Wattmeter Portable, 1-phase, 5/10A, 150/300/600V | 4 | 06.05.2005 | Mannu Enterprises, New Delhi | 15600/- | Issued to EE department | In working condition
16 | Wattmeter Portable, 1-phase, 5/10A, 150/300/600V | 4 | 06.05.2005 | Mannu Enterprises, New Delhi | 15600/- | Issued to EE department | In working condition
17 | Variable Capacitive load 3-phase, 440V, 15A, | 1 | 11.02.2004 | Satguru Enterprises, Hisar | 11490/- | Issued to EE department | Not in working condition | Yes, repariable
18 | Variable Lamp load 3-phase, 2KW, 440V | 2 | 12.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 4000/- | Issued to EE department | In working condition
19 | Variable Lamp load 1-phase, 2KW, 230V | 2 | 12.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 4000/- | Issued to EE department | In working condition
20 | Variable Inductance load, 3-phase, 15A, 440V, | 1 | 28.04.2004 | Mannu Enterprises, New Delhi | 12600/- | Issued to EE department | Not in Wokring condition | Yes, repariable
21 | Variable capacitor, 0-10MFD, | 2 | 02.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 1300/- | Issued to EE department | Not in Wokring condition | Yes, repariable
22 | DC regulated Multiple Output Power Supply 0-30Vdc out, 2A, & 3-15Vdc at 2A | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 13000/- | Issued to EE department | In working condition
23 | Digital Meter Multimeter 3.5digit, LCD display | 2 | 25.12.2003 | Shree Lalji Traders, Hisar | 2808/- | Issued to EE department | In working condition
24 | Inductance boxes. 0-200KHz, accuracy 0.5% | 2 | 22.03.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 4056/- | Issued to EE department | In working condition
25 | Inductor, 0.8A Choke, 0.4A | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 3200/- | Issued to EE department | In working condition
26 | Transformers, 1-phase, 2KVA, 230V, 9A, 50Hz | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 5920/- | Issued to EE department | In working condition
27 | Auto Transformers, 3-phase, 0-400V, 15A | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 13600/- | Issued to EE department | In working condition
28 | Auto Transformers, 3-phase, 0-400V, 25A | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 18200/- | Issued to EE department | In working condition
29 | Induction Motor 3-phase Squirrel Cage, 440V with control panel having voltmeter, ammeter, pulley-belt & spring load arrangment | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 23400/- | Issued to EE department | In working condition
30 | Induction motor 1-phase, 1HP, capacitor start, 250V, 50Hz | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 4720/- | Issued to EE department | In working condition
31 | Oscilloscope Dual channel, 0-30MHz | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 39600/- | Issued to EE department | In working condition
32 | Earth Tester 500V, 0-10-100 ohms | 2 | 28.04.2004 | Mannu Enterprises, New Delhi | 2960/- | Issued to EE department | In working condition
33 | Stop Watch digital | 4 | 11.02.2004 | Satguru Enterprises, Hisar | 680/- | Issued to EE department | In working condition
34 | Digital Contact type Tachometer 0-9999rpm, 3.5 digit | 2 | 02.01.2004 | Zodiac Electrical and Scientific Coorporation, Ambala Cantt. | 3800/- | Issued to EE department | In working condition
35 | AC Ammeter Portable Moving Iron dual scale, wiht Bakelite housing 0.5/1A, accuracy 1.0 | 3 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 4650/- | Issued to EE department | In working condition
36 | AC Voltmeter 150/300V | 5 | 02.09.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 6440/- | Issued to EE department | In working condition
37 | AC Voltmeter 300/600V | 5 | 02.09.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 6440/- | Issued to EE department | In working condition
38 | AC Voltmeter 125/250/500V | 4 | 02.09.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 5380/- | Issued to EE department | In working condition
39 | AC Voltmeter 75/150/300V | 4 | 02.09.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 5380/- | Issued to EE department | In working condition
40 | AC Voltmeter 15/30/75V | 4 | 02.09.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 5380/- | Issued to EE department | In working condition
41 | Shift Register Kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1541/- | Issued to EE department | In working condition
42 | DeMorgan's Theorem Kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1323/- | Issued to EE department | In working condition
43 | 4 Bit Multiplexer kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1668/- | Issued to EE department | In working condition
44 | 4 Bit Demultiplexer kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1668/- | Issued to EE department | In working condition
45 | BCD to Decimal kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1932/- | Issued to EE department | In working condition
46 | BCD to 7 Segement Kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1725/- | Issued to EE department | In working condition
47 | Half & Full Adder Kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1334/- | Issued to EE department | In working condition
48 | Johnson's kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1495/- | Issued to EE department | In working condition
49 | Study of Counters kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2530/- | Issued to EE department | In working condition
50 | BCD (Binary) to Grey (Vice-Versa) kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1610/- | Issued to EE department | In working condition
51 | Excess 3 to BCD and Vice Versa kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2070/- | Issued to EE department | In working condition
52 | Study of Synchronous Counter kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2415/- | Issued to EE department | In working condition
53 | Decimal to BCD Encoder kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1680/- | Issued to EE department | In working condition
54 | DC-AC Converter, 750VA | 2 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 6600/- | Issued to EE department | In working condition
55 | DC-AC Converter, 1400VA | 1 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 5150/- | Issued to EE department | In working condition
56 | Voltage Regulator, 1KVA | 2 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 2300/- | Issued to EE department | In working condition
57 | Voltage Regulator, 0.5KVA | 2 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 1440/- | Issued to EE department | In working condition
58 | Control Circuit Card 750VA | 3 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 1485/- | Issued to EE department | In working condition
59 | Battery 12V, 150Ah | 2 | 26.03.2007 | Super battery House, Booth No. 25, CC 1st, Additional Mandi, Sirsa | 10800/- | Issued to EE department | Not in working condition | Not repairbale
60 | Plier 8" (Make: Venus) | 6 | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 450/- | Issued to EE department | In working condition
61 | Plier (Make: Marico) | 2 | 03.10.2005 | Monga Electricals, Opposite Main Post Office, Sirsa | 148/- | Issued to EE department | In working condition
62 | Screw Driver Set | 6 Set | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 1080/- | Issued to EE department | In working condition
63 | Screw Driver | 3 | 03.10.2005 | Monga Electricals, Opposite Main Post Office, Sirsa | 60/- | Issued to EE department | In working condition
64 | Spanner Set (6 to 22No.) | 06 set | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 720/- | Issued to EE department | In working condition
65 | Wire Cutter | 6 | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 150/- | Issued to EE department | In working condition
66 | Wire Cutter | 3 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 300/- | Issued to EE department | In working condition
67 | Hammer Set (500, 4000, 800mg) | 10 | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 1900/- | Issued to EE department | In working condition
68 | Tube Set (Make: Phillips) | 2 | 03.10.2005 | Monga Electricals, Opposite Main Post Office, Sirsa | 496/- | Issued to EE department | Not in working condition | Yes, repariable
69 | Tester Kit | 6 | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 720/- | Issued to EE department | In working condition
70 | Tester Kit | 3 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 300/- | Issued to EE department | In working condition
71 | Tester | 4 | 03.10.2005 | Monga Electricals, Opposite Main Post Office, Sirsa | 40/- | Issued to EE department | In working condition
72 | Drilling Machine 13mm2 | 1 | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 650/- | Issued to EE department | In working condition
73 | Logic Gates Kit | 1 | 01.02.2007 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 1610/- | Issued to EE department | In working condition
74 | DC Motor Shunt Type. 3HP, 1500rpm, 230V with control panel (Make: Kirloskar) | 1 | 31.05.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 40186/- | Issued to EE department | In working condition
75 | DC Generator Shunt Wound Type, 2KW, 15000rpm. 230V, Forced Cooled type (Make: Kirloskar) | 1 | 14.07.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 31824/- | Issued to EE department | In working condition
76 | Sodium Vapour Lamp (150Watt) | 1 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 2750/- | Issued to EE department | In working condition
77 | High Pressure Mercury Lamp (250Watt) | 1 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 3000/- | Issued to EE department | In working condition
78 | Stair Case Wiring arrangement | 1 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 200/- | Issued to EE department | In working condition
79 | House Wiring Conduit and Batten arrangement | 2 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 650/- | Issued to EE department | In working condition
80 | Heater (150Watt) | 1 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 100/- | Issued to EE department | Not in working condition | Yes, repariable
81 | Iron (750Watt) | 1 | 20.10.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 350/- | Issued to EE department | Not in working condition | Not repariable
82 | Step Up Chopper kit | 1 | 28.02.2013 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 10500/- | Issued to EE department | In working condition
83 | Jones Chopper kit | 1 | 28.02.2013 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 11650/- | Issued to EE department | In working condition
84 | Morgan's Chopper Kit | 1 | 28.02.2013 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 11650/- | Issued to EE department | In working condition
85 | Series Inverter using SCRs Kit | 1 | 28.02.2013 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 11650/- | Issued to EE department | In working condition
86 | 8051 Microcontroller kits with Inbuilt Power supply | 4 | 11.05.2013 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 37512/- | Issued to EE department | In working condition
87 | Instrumentation Trainer using Transducers | 1 | 22.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 31570/- | Issued to EE department | In working condition
88 | Pressure Measurement using Strain Gauge kit | 1 | 22.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 12243/- | Issued to EE department | In working condition
89 | Anderson's Bridge to measure the medium Inductance with inbuilt power supply | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 6320/- | Issued to EE department | In working condition
90 | De Sauty's bridge to measure capacitance wiht inbuilt power supply | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 6320/- | Issued to EE department | In working condition
91 | Galvanometer 30/0/30 division senstivity of 2μA/div. | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 300/- | Issued to EE department | In working condition
92 | DC source 1-12V, 10A | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 7000/- | Issued to EE department | In working condition
93 | Kelvin's bridge kit to measure low resistance | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 6000/- | Issued to EE department | In working condition
94 | Maxwell's Inductace bridge to measure low inductance wiht inbuilt power supply | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 6000/- | Issued to EE department | In working condition
95 | Schering Bridge to measure capacitance with inbuilt power supply | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 7000/- | Issued to EE department | In working condition
96 | Wheat Stone's bridge to measure the resistance (Portable) | 1 | 31.03.2014 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 5240/- | Issued to EE department | In working condition
97 | Linear System Simulator (Open Loop and Closed Loop system of I and II order system) | 1 | 24.01.2015 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 15000/- | Issued to EE department | In working condition
98 | Stepper Motor Controller Trainer | 1 | 24.01.2015 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 19000/- | Issued to EE department | In working condition
99 | Characteristics of Potentiometer Trainer Kit | 1 | 24.01.2015 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 8000/- | Issued to EE department | In working condition
100 | Speed Control of DC Shunt Motor (1HP), complete with motor, Complete unit with motor, inbuilt power supply and accessories like Ammeter, Voltmeter, rheostats etc. | 1 | 02.05.2016 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 44468/- | Issued to EE department | In working condition
101 | Three phase Fully Controlled Rectifier Fed Seperately Excited DC Motor (1HP) at different firing angle for obtaining speed-torque characteristics. Complete unit with motor and accessories wiht belt-pully arrangement. | 1 | 21.04.2016 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 49467/- | Issued to EE department | In working condition
102 | Chopper Control of DC Series motor (1HP) for speed torque characteristics | 1 | 01.08.2015 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 49468/- | Issued to EE department | In working condition
103 | Light Intensity control using SCR and TRIAC | 1 | 10.03.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2750/- | Issued to EE department | In working condition
104 | SCR Commutation Techniques kit | 1 | 10.03.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 8250/- | Issued to EE department | In working condition
105 | SCR Single Phase Half Wave Converter | 1 | 10.03.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2750/- | Issued to EE department | In working condition
106 | Phase Control using TRIAC | 1 | 10.03.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2750/- | Issued to EE department | In working condition
107 | Thyristor Firing Circuits Kit | 1 | 10.03.2006 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 2750/- | Issued to EE department | In working condition
108 | Auto Transformer (1-phase) 50-60Hz, 8A, 240V, 0-270V | 6 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 16794/- | Issued to EE department | In working condition
109 | Auto Transformer (1-phase) 50-60Hz, 15A, 240V, 0-270V | 4 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 17764/- | Issued to EE department | In working condition
110 | Single Phase Transformer 1KVA, 50Hz, 230V | 2 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 11998/- | Issued to EE department | In working condition
111 | Single Phase Transformer 1KVA, 50Hz, 230V/115V | 3 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 15639/- | Issued to EE department | In working condition
112 | Single Phase Transformer 2KVA, 50Hz, 230V/115V, | 2 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 17764/- | Issued to EE department | In working condition
113 | Three Phase Transformers 4KVA, 50Hz, 440V/215V | 1 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 17571/- | Issued to EE department | In working condition
114 | Three Phase Transformers 2KVA, 50Hz, 440V/215V | 2 | 21.03.2006 | Automatic Electric Ltd. E-3, Wagle Industries Estate, Thane (Maharashtra) | 19984/- | Issued to EE department | In working condition
115 | Wire 1mm2 | 03 roll | 26.03.2014 | Sachdeva Electricals, Shiv Chowk, Sirsa | 2070/- | Issued to EE department | In working condition
116 | Wire 1.5mm2 | 02 roll | 26.03.2014 | Sachdeva Electricals, Shiv Chowk, Sirsa | 2040/- | Issued to EE department | In working condition
117 | Wire 2.5mm2 (Make: Mayur) | 05 roll | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 5950/- | Issued to EE department | In working condition
118 | Wire 4mm2 (Make: Mayur) | 05 roll | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 9350/- | Issued to EE department | In working condition
119 | Cable 3 Core 23/76 (Make: Mayur) | 02 roll | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 1830/- | Issued to EE department | In working condition
120 | Cable 4 Core 23/76 (Make: Mayur) | 02 roll | 10.04.2007 | Sharan Electricals, Old Civil Hospital Road, Sirsa | 2320/- | Issued to EE department | In working condition
121 | Lab tables of size 6'x3'x3' (Sheesham Wood) | 8 | 28.08.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 45760/- | Issued to EE department | In working condition
122 | Lab tables of size 6'x3'x3' (Sheesham Wood). For Leg size 2.75"x 2.75". Top model 18mm, 15Amp. | 8 | 12.07.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 45760/- | Issued to EE department | In working condition
123 | Lab tables of size 6'x3'x3' (Sheesham Wood). For Leg size 2.75"x 2.75". Top model | 8 | 05.11.2005 | The Ambala Central Coorporation Consumers Store Limited, Ambala Cantt. | 45760/- | Issued to EE department | In working condition
124 | Trainer for Speed Contorl of Slip Ring Induction motor, 3-phase, 440V, 3HP, 50Hz with suitable panel arranegement with motor | 2 | 23.06.2003 | Govt. Poytechnic for Women, Faridabad | Shifted from Govt. Polytechnic for Women, Faridabad | Issued to EE department | In working condition
125 | 3-phase Starter (Star-Delta) | 2 | 23.06.2003 | Govt. Poytechnic for Women, Faridabad | Shifted from Govt. Polytechnic for Women, Faridabad 1090/- | Issued to EE department | In working condition
126 | Loading Rheostat 2.5KW, 10Amp. | 2 | 23.06.2003 | Govt. Poytechnic for Women, Faridabad | Shifted from Govt. Polytechnic for Women, Faridabad 6048/- | Issued to EE department | In working condition
127 | DC Shunt Motor (Direct Test) 220V, 3KW, 1500rpm, with 3 point starter and Pony break loading | 1 | 23.06.2003 | Govt. Poytechnic for Women, Faridabad | Shifted from Govt. Polytechnic for Women, Faridabad | Issued to EE department | In working condition
128 | Vacuum Filteration Pump | 4 | 09.07.2003 | Govt. Poytechnic, Mndi Adampur | Shifted from Govt. Polytechnic Mandi Adampur | Issued to EE department | In working condition
129 | Verification of Theorems (Norton's, Thevenin's & Superposition) kit | 3 | 24.12.2016 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 11700/- | Issued to EE department | In working condition
130 | Verification of Kirchhoff's (KVL and KCL) Law kit | 4 | 20.12.2016 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 16560/- | Issued to EE department | In working condition
131 | Verification of LCR Resonance kit | 3 | 20.12.2016 | Mars Edpal Instruments Pvt. Ltd. 3575, Timber Market, Ambala Cantt. | 12510/- | Issued to EE department | In working condition
132 | Transmission Line Trainer | 1 | 16.02.2017 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 26500/- | Issued to EE department | In working condition
133 | Transformer Oil Testing Kit | 1 | 16.02.2017 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 19990/- | Issued to EE department | In working condition
134 | Single Phase Parallel Inverter | 1 | 03.02.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 5594/- | Issued to EE department | In working condition
135 | Single Phase Dual Converter | 1 | 03.02.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 16525/- | Issued to EE department | In working condition
136 | IGBT Baed PWM Inverter | 1 | 03.02.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 18644/- | Issued to EE department | In working condition
137 | 3-phase VSI Inverter Controlled Squirrel Cage Induction motor drive (through controlled rectifier) | 1 | 14.03.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 49501/- | Issued to EE department | In working condition
138 | Charts Big Sized 30" x 40" size laminated and attached with rollers | 15 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 11250/- | Issued to EE department | In working condition
139 | Big sized Scientist Charts of size 20: x 26" laminated and framed with board. | 7 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 6300/- | Issued to EE department | In working condition
140 | P-N junction Diode applicaiton Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 2034/- | Issued to EE department | In working condition
141 | Study of Thyristor Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 4068/- | Issued to EE department | In working condition
142 | TRIAC Characteristics Application Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 4068/- | Issued to EE department | In working condition
143 | Transistor Characteristics App. Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 2796/- | Issued to EE department | In working condition
144 | MOSFET Characteristics App. Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 3814/- | Issued to EE department | In working condition
145 | TRIAC Phase Control Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 4661/- | Issued to EE department | In working condition
146 | Bridge Inverter App. Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 5593/- | Issued to EE department | In working condition
147 | Single Phase Cycloconverter Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 18795/- | Issued to EE department | In working condition
148 | Study of Buck Boost and Cuk Regulator Kit | 1 | 10.10.2018 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 15000/- | Issued to EE department | In working condition
149 | Cut Section of 1-Phase Transformer 1KVA, 230/115V, 50Hz | 1 | 19.07.2021 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 20000/- | Issued to EE department | In working condition
150 | Cut Section of DC Motor 1HP with 3-Point Starter | 1 | 19.07.2021 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 25000/- | Issued to EE department | In working condition
151 | DC Supply for DC Motorr 1HP | 1 | 19.07.2021 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 8000/- | Issued to EE department | In working condition
152 | Cut Section of 3-Phase Induction Motor with DOL Starter | 1 | 19.07.2021 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 26000/- | Issued to EE department | In working condition
153 | Rheostat 1080Ohm, 0.6Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 2650/- | Issued to EE department | In working condition
154 | Rheostat 250Ohm, 1Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 1600/- | Issued to EE department | In working condition
155 | Rheostat 250Ohm, 1.2Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 1680/- | Issued to EE department | In working condition
156 | Rheostat 350Ohm, 1.5Amp | 2 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 5120/- | Issued to EE department | In working condition
157 | Rheostat 150Ohm, 2Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 2000/- | Issued to EE department | In working condition
158 | Rheostat 100Ohm, 2.5Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 1600/- | Issued to EE department | In working condition
159 | Rheostat 150Ohm, 2.5Amp | 1 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 2000/- | Issued to EE department | In working condition
160 | Rheostat 50Ohm, 5Amp | 2 | 01.02.2022 | Satish Brothers, 4309/20, Marble House, Punjabi Mohalla, Near Rajiv Ultrasound, Ambala Cantt. | 4900/- | Issued to EE department | In working condition
| Dated: 28.02.2022 |  |  |  | Head (EE Department)
CDL State Inst. of Engg. & Tech., Panniwala Mota